Zero Day Inc. Floor Cabling Diagrams Assessment Legend

- Wiring used for cabling across all floors is blue Cat6 Ethernet Cable

Floor one

- 17 Network drops

- Cat 6 (1053ft)

Floor two

- 20 Network drops

- Cat 6 (1154ft)

Floor #3

- 18 Network drops

- Cat 6 (1025ft)

Floor #4

- 15 Network drops

- Cat 6 (974ft)